## LS
|  | Science | MasterCal
Reduction Step | Task | Longslit | Bias | Dark | Flat | Arc | Std
Append MDF | gsreduce
Header update | gprepare
Overscan correction | gsreduce (gireduce)
Create Bias Residual MasterCal | gbias
Remove bias residual | gsreduce
Create Dark MasterCal | gnsdark
Apply dark correction | gsreduce
Apply QE correction | gqecorr
Single-frame CR rejection | gsreduce (gscrrej)
Create Flat-field MasterCal | gsflat
Apply Flat-field correction | gsreduce
Gain normalization | gsreduce (ggain)
Mosaic amps/sensors | gsreduce (gmosaic)
Combine identical exposures | gemcombine
Apply approx dispersion solution | gsreduce (gsappwave)
Create dispersion solution | gswavelength
Apply wavelength calibration | gstransform
Subtract sky | gsskysub
Extract spectra | gsextract
Create flux calibration | gsstandard
Apply flux calibration & extinction correction | gscalibrate

## MOS
|  | Science | MasterCal
Reduction Step | Task | MOS | Bias | Dark | Flat | Arc | Std
Append MDF | gsreduce
Header update | gprepare
Overscan correction | gsreduce (gireduce)
Create Bias Residual MasterCal | gbias
Remove bias residual | gsreduce
Create Dark MasterCal | gnsdark
Apply dark correction | gsreduce
Apply QE correction | gqecorr
Single-frame CR rejection | gsreduce (gscrrej)
Create Flat-field MasterCal | gsflat
Apply Flat-field correction | gsreduce
Gain normalization | gsreduce (ggain)
Mosaic amps/sensors | gsreduce (gmosaic)
Combine identical exposures | gemcombine
Partition slitlets | gsreduce (gscut)
Apply approx dispersion solution | gsreduce (gsappwave)
Create dispersion solution | gswavelength
Apply wavelength calibration | gstransform
Subtract sky | gsskysub
Extract spectra | gsextract
Create flux calibration | gsstandard
Apply flux calibration & extinction correction | gscalibrate

## Img
|  | Science | MasterCal
Reduction Step | Task | Image | Dark | Flat | Sky
Header update | f2prepare
Create Dark MasterCals | nsdark
Subtract dark | nsreduce
Create Flatfield MasterCal | nsflat
Apply flat-field | nsreduce
Create Sky MasterCal | nssky
Subtract sky | nsreduce
Combine dithered exposures | imcombine

## Spec
Science
Reduction Step | Task | Longslit | Dark | Flat | Arc | Tel | Std
Append MDF | f2prepare
Header update | f2prepare
Create Dark MasterCal | nscombine
Apply dark correction | gemarith
Gain normalization | nsreduce
Create Flat-field MasterCal | nsflat
Apply Flat-field correction | nsreduce
Subtract sky pair-wise | nscombine
Combine identical exposures | nscombine
Apply approx dispersion solution | nsreduce (nsappwave)
Create dispersion solution | nswavelength
Apply wavelength calibration | nstransform
Extract spectra | nsextract
Apply telluric correction | nstelluric
Derive flux calibration | gs???
Apply flux calibration | gscalibrate

## Planning
Configuration
Calibration Type | Img | L-S | MOS
Dark |  | R(N&S) | R(N&S)
CuAr Arc |  | B | B
GCAL Flat |  | B | B
Twilight Flat | B | R | B,R
Photometric Std | B
Spectrophotometric Std |  | B,R | B,R
Telluric Std |  | B | B
PSF/LSF